## Sec7-2out
Results7-2.xls, sheet "Sec7-2out"
|  |  | Software name: | Tested Software 1.0 |  | Enter the name and version number of the software being tested in Cell E3 (merged cells);
use abbreviation if needed, so that name of tested software fits well on the charts
|  |  | Organizations submitting results: | Company Name |  | Enter the name of the organization submitting results in Cell E5 (merged cells)
Results: |  | Instructions: Enter test case results as specified in Sections 8.1 and 8.2 next to test case name in yellow cells, for heating and cooling seasons for the entire year or some other reasonable
length as defined by the tool being tested in units of million Btu; see row 31 for season entry instructions. (Note, currently shown load values are automatically calculated
average values of example results (average of subsets of results for L302A - L324A); simply overwrite those formulas when entering values for the tested program.)
Tier 1 Test Cases: | [5 empty] | Tier 2 Test Cases
| Heating Cases: |  |  | Cooling Cases: |  |  | Heating Cases: |  |  | Cooling Cases:
|  | Heating Load |  |  | Cooling Load |  |  | Heating Load |  |  | Cooling Load
|  | (Million Btu) |  |  | (Million Btu) |  |  | (Million Btu) |  |  | (Million Btu)
| L100AC | 64.11 |  | L100AL | 58.26 |  | L165AC | 69.8733 |  | L165AL | 55.74
| L110AC | 87.9567 |  | L110AL | 61.57 |  | P100AC | 12.2433 |  | P100AC | 20.3967
| L120AC | 51.0633 |  | L120AL | 54.17 |  | P105AC | 14.5533 |  | P105AC | 13.0033
| L130AC | 47.39 |  | L130AL | 39.0467 |  | P110AC | 22.1067 |  | P110AC | 32.51
| L140AC | 49.6267 |  | L140AL | 24.9 |  | P140AC | 28.22 |  | P140AC | 2.0867
| L150AC | 56.1467 |  | L150AL | 72.37 |  | P150AC | 25.23 |  | P150AC | 13.83
| L155AC | 58.8633 |  | L155AL | 56.8867
| L160AC | 64.9 |  | L160AL | 66.31
| L170AC | 76.7233 |  | L170AL | 48.07
| L200AC | 146.1433 |  | L200AL | 71.84
| L202AC | 150.6933 |  | L202AL | 64.14
| L302AB | 73.62
| L304AB | 61.95
| L322AB | 95.2833
| L324AB | 66.2
Seasons: |  | Instructions: Enter first and last Julian date (365 day year) for each season in yellow cells. | [6 empty] | Example Seasons:
| Heating: | First day | Last day | [5 empty] | Heating: | 2008-09-05 | 2008-04-10
|  | 1 | 365 | [6 empty] | 248 | 100
| Cooling: | First day | Last day | [5 empty] | Cooling: | 2008-05-10 | 2008-09-15
|  | 1 | 365 | [6 empty] | 131 | 258
Statistics: |  | Instructions: select confidence interval from pull down list and enter
minimum range for criteria range bands
| Conf.Interval: | 90%
| min range: | 4 | 10^6 Btu
| t_c | n | 80% | 90% | 95%
| 2.92 | 3 | 1.886 | 2.92 | 4.303

## Tables_B20
Example Results Seasonal Loads
Table B20-1. HERS BESTEST Tier-1 Example Results – Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L100AC | 61.94 | 58 | 72.39 | 58 | 72.39 | 64.11 | 22.45%
| L110AC | 85.95 | 81.39 | 96.53 | 81.39 | 96.53 | 87.9567 | 17.21%
| L120AC | 50.27 | 45.1 | 57.82 | 45.1 | 57.82 | 51.0633 | 24.91%
| L130AC | 46.35 | 45.84 | 49.98 | 45.84 | 49.98 | 47.39 | 8.736%
| L140AC | 49.15 | 47.25 | 52.48 | 47.25 | 52.48 | 49.6267 | 10.54%
| L150AC | 54.93 | 49.48 | 64.03 | 49.48 | 64.03 | 56.1467 | 25.91%
| L155AC | 57.39 | 52.3 | 66.9 | 52.3 | 66.9 | 58.8633 | 24.8%
| L160AC | 62.9 | 58.29 | 73.51 | 58.29 | 73.51 | 64.9 | 23.45%
| L170AC | 73.06 | 71.65 | 85.46 | 71.65 | 85.46 | 76.7233 | 18%
| L200AC | 133.97 | 136.12 | 168.34 | 133.97 | 168.34 | 146.1433 | 23.52%
| L202AC | 137.47 | 142.06 | 172.55 | 137.47 | 172.55 | 150.6933 | 23.28%
| L302AC | 70.5 | 67.44 | 82.92 | 67.44 | 82.92 | 73.62 | 21.03%
| L302BC | 65.24 | 60.12 | 73.1 | 60.12 | 73.1 | 66.1533 | 19.62%
| L304AC | 60.05 | 56.64 | 69.16 | 56.64 | 69.16 | 61.95 | 20.21%
| L304BC | 55.59 | 50.12 | 61.59 | 50.12 | 61.59 | 55.7667 | 20.57%
| L322A1 | 91.65 | 88.26 | 105.94 | 88.26 | 105.94 | 95.2833 | 18.56%
| L322A2 | 92.49 | 86.32 | 107.68 | 86.32 | 107.68 | 95.4967 | 22.37%
| L322B1 | 81.82 | 77.72 | 92.39 | 77.72 | 92.39 | 83.9767 | 17.47%
| L322B2 | 87.97 | 82.87 | 92.1 | 82.87 | 92.1 | 87.6467 | 10.53%
| L324A1 | 64.91 | 61.11 | 72.58 | 61.11 | 72.58 | 66.2 | 17.33%
| L324A2 | 65.01 | 60.31 | 73.47 | 60.31 | 73.47 | 66.2633 | 19.86%
| L324B1 | 56.59 | 50.38 | 62.45 | 50.38 | 62.45 | 56.4733 | 21.37%
| L324B2 | 60.4 | 51.88 | 65.3 | 51.88 | 65.3 | 59.1933 | 22.67%
** ABS [(max - min) / (mean of Example Results)]
Table B20-2. HERS BESTEST Tier-1 Example Results – Delta Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L110AC-L100AC | 24.01 | 23.39 | 24.14 | 23.39 | 24.14 | 23.8467 | 3.145%
| L120AC-L100AC | -11.67 | -12.9 | -14.57 | -14.57 | -11.67 | -13.0467 | 22.23%
| L130AC-L100AC | -15.59 | -12.16 | -22.41 | -22.41 | -12.16 | -16.72 | 61.3%
| L140AC-L100AC | -12.79 | -10.75 | -19.91 | -19.91 | -10.75 | -14.4833 | 63.25%
| L150AC-L100AC | -7.01 | -8.52 | -8.36 | -8.52 | -7.01 | -7.9633 | 18.96%
| L155AC-L150AC | 2.46 | 2.82 | 2.87 | 2.46 | 2.87 | 2.7167 | 15.09%
| L160AC-L100AC | 0.96 | 0.29 | 1.12 | 0.29 | 1.12 | 0.79 | 105.1%
| L170AC-L100AC | 11.12 | 13.65 | 13.07 | 11.12 | 13.65 | 12.6133 | 20.06%
| L200AC-L100AC | 72.03 | 78.12 | 95.95 | 72.03 | 95.95 | 82.0333 | 29.16%
| L202AC-L200AC | 3.5 | 5.94 | 4.21 | 3.5 | 5.94 | 4.55 | 53.63%
| L302AC-L100AC | 8.56 | 9.44 | 10.53 | 8.56 | 10.53 | 9.51 | 20.72%
| L302BC-L100AC | 3.3 | 2.12 | 0.71 | 0.71 | 3.3 | 2.0433 | 126.8%
| L302AC-L304AC | 10.45 | 10.8 | 13.76 | 10.45 | 13.76 | 11.67 | 28.36%
| L302BC-L304BC | 9.65 | 10 | 11.51 | 9.65 | 11.51 | 10.3867 | 17.91%
| L322A1-L100AC | 29.71 | 30.26 | 33.55 | 29.71 | 33.55 | 31.1733 | 12.32%
| L322A2-L100AC | 30.55 | 28.32 | 35.29 | 28.32 | 35.29 | 31.3867 | 22.21%
| L322B1-L100AC | 19.88 | 19.72 | 20 | 19.72 | 20 | 19.8667 | 1.409%
| L322B2-L100AC | 26.03 | 24.87 | 19.71 | 19.71 | 26.03 | 23.5367 | 26.85%
| L322A1-L324A1 | 26.74 | 27.15 | 33.36 | 26.74 | 33.36 | 29.0833 | 22.76%
| L322A2-L324A2 | 27.48 | 26.01 | 34.21 | 26.01 | 34.21 | 29.2333 | 28.05%
| L322B1-L324B1 | 25.23 | 27.34 | 29.94 | 25.23 | 29.94 | 27.5033 | 17.13%
| L322B2-L324B2 | 27.57 | 30.99 | 26.8 | 26.8 | 30.99 | 28.4533 | 14.73%
** ABS [(max - min) / (mean of Example Results)]
Table B20-3. HERS BESTEST Tier-1 Example Results – Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L100AL | 54.66 | 60.8 | 59.32 | 54.66 | 60.8 | 58.26 | 10.54%
| L110AL | 57.71 | 63.82 | 63.18 | 57.71 | 63.82 | 61.57 | 9.924%
| L120AL | 51.36 | 56.14 | 55.01 | 51.36 | 56.14 | 54.17 | 8.824%
| L130AL | 36.96 | 41.25 | 38.93 | 36.96 | 41.25 | 39.0467 | 10.99%
| L140AL | 23.52 | 26.54 | 24.64 | 23.52 | 26.54 | 24.9 | 12.13%
| L150AL | 67.73 | 77.35 | 72.03 | 67.73 | 77.35 | 72.37 | 13.29%
| L155AL | 54.09 | 59.06 | 57.51 | 54.09 | 59.06 | 56.8867 | 8.737%
| L160AL | 62.62 | 68.69 | 67.62 | 62.62 | 68.69 | 66.31 | 9.154%
| L170AL | 45.83 | 49.08 | 49.3 | 45.83 | 49.3 | 48.07 | 7.219%
| L200AL | 65.71 | 73.1 | 76.71 | 65.71 | 76.71 | 71.84 | 15.31%
| L202AL | 59.61 | 62.24 | 70.57 | 59.61 | 70.57 | 64.14 | 17.09%
** ABS [(max - min) / (mean of Example Results)]
Table B20-4. HERS BESTEST Tier-1 Example Results – Delta Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L110AL-L100AL | 3.05 | 3.02 | 3.86 | 3.02 | 3.86 | 3.31 | 25.38%
| L120AL-L100AL | -3.3 | -4.66 | -4.31 | -4.66 | -3.3 | -4.09 | 33.25%
| L130AL-L100AL | -17.7 | -19.55 | -20.39 | -20.39 | -17.7 | -19.2133 | 14%
| L140AL-L100AL | -31.14 | -34.26 | -34.68 | -34.68 | -31.14 | -33.36 | 10.61%
| L150AL-L100AL | 13.07 | 16.55 | 12.71 | 12.71 | 16.55 | 14.11 | 27.21%
| L155AL-L150AL | -13.64 | -18.29 | -14.52 | -18.29 | -13.64 | -15.4833 | 30.03%
| L160AL-L100AL | 7.96 | 7.89 | 8.3 | 7.89 | 8.3 | 8.05 | 5.093%
| L170AL-L100AL | -8.83 | -11.72 | -10.02 | -11.72 | -8.83 | -10.19 | 28.36%
| L200AL-L100AL | 11.05 | 12.3 | 17.39 | 11.05 | 17.39 | 13.58 | 46.69%
| L202AL-L200AL | -6.1 | -10.86 | -6.14 | -10.86 | -6.1 | -7.7 | 61.82%
** ABS [(max - min) / (mean of Example Results)]
Table B20-5. HERS BESTEST Tier-2 Example Results – Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L165AC | 66.84 | 64.73 | 78.05 | 64.73 | 78.05 | 69.8733 | 19.06%
| P100AC | 12.31 | 10.02 | 14.4 | 10.02 | 14.4 | 12.2433 | 35.77%
| P105AC | 14.6 | 12.1 | 16.96 | 12.1 | 16.96 | 14.5533 | 33.39%
| P110AC | 22.37 | 20.17 | 23.78 | 20.17 | 23.78 | 22.1067 | 16.33%
| P140AC | 29.42 | 25.82 | 29.42 | 25.82 | 29.42 | 28.22 | 12.76%
| P150AC | 25.1 | 22.58 | 28.01 | 22.58 | 28.01 | 25.23 | 21.52%
** ABS [(max - min) / (mean of Example Results)]
Table B20-6. HERS BESTEST Tier-2 Example Results – Delta Annual or Seasonal Heating Loads (10^6 Btu/y) for Colorado Springs, CO
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L165AC-L160AC | 3.94 | 6.44 | 4.54 | 3.94 | 6.44 | 4.9733 | 50.27%
| P105AC-P100AC | 2.29 | 2.08 | 2.56 | 2.08 | 2.56 | 2.31 | 20.78%
| P110AC-P100AC | 10.06 | 10.15 | 9.38 | 9.38 | 10.15 | 9.8633 | 7.807%
| P140AC-P100AC | 17.11 | 15.8 | 15.02 | 15.02 | 17.11 | 15.9767 | 13.08%
| P150AC-P100AC | 12.79 | 12.56 | 13.61 | 12.56 | 13.61 | 12.9867 | 8.085%
** ABS [(max - min) / (mean of Example Results)]
Table B20-7. HERS BESTEST Tier-2 Example Results – Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV ("AL") and Colorado Springs, CO ("AC")
| Example Results: |  |  |  | Statistics:
| Test Case | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L165AL | 54.77 | 52.87 | 59.58 | 52.87 | 59.58 | 55.74 | 12.04%
| P100AC | 18.11 | 23.01 | 20.07 | 18.11 | 23.01 | 20.3967 | 24.02%
| P105AC | 11.94 | 13.61 | 13.46 | 11.94 | 13.61 | 13.0033 | 12.84%
| P110AC | 30.19 | 36.48 | 30.86 | 30.19 | 36.48 | 32.51 | 19.35%
| P140AC | 1.68 | 2.84 | 1.74 | 1.68 | 2.84 | 2.0867 | 55.59%
| P150AC | 12.43 | 15.03 | 14.03 | 12.43 | 15.03 | 13.83 | 18.8%
** ABS [(max - min) / (mean of Example Results)]
Table B20-8. HERS BESTEST Tier-2 Example Results – Delta Annual or Seasonal Sensible Cooling Loads (10^6 Btu/y) for Las Vegas, NV ("AL") and Colorado Springs, CO ("AC")
| Example Results: |  |  |  | Statistics:
| Test Case Delta | BLAST 3.0 | DOE 2.1E | SERIRES 5.7 | min | max | mean | (max -min) /mean**
| L165AL-L160AL | -7.85 | -15.82 | -8.04 | -15.82 | -7.85 | -10.57 | 75.4%
| P105AC-P100AC | -6.17 | -9.4 | -6.61 | -9.4 | -6.17 | -7.3933 | 43.69%
| P110AC-P100AC | 12.08 | 13.47 | 10.79 | 10.79 | 13.47 | 12.1133 | 22.12%
| P140AC-P100AC | -16.43 | -20.17 | -18.33 | -20.17 | -16.43 | -18.31 | 20.43%
| P150AC-P100AC | -5.68 | -7.98 | -6.04 | -7.98 | -5.68 | -6.5667 | 35.03%
** ABS [(max - min) / (mean of Example Results)]

## BLAST-HtgRes
| Table B20-9. BLAST 3.0 Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-10. BLAST 3.0 Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 11.3 | 15.27 | 9.34 | 8.72 | 8.96 | 9.61 | 9.69 | 11.94 | 12.68 | 22.73 | 23.21 | 12.52 | 12.22 | 10.86 | 10.5 | 16.19 | 16.41 | 15.72 | 16.37 | 11.91 | 11.99 | 11.16 | 11.26 | Jan | 12.63 | 2.44 | 2.45 | 4.2 | 5.68 | 5.44
2 | Feb | 9.74 | 13.21 | 8.07 | 7.5 | 7.79 | 8.54 | 8.8 | 9.99 | 11 | 19.74 | 20.19 | 10.81 | 10.87 | 9.37 | 9.34 | 14.05 | 14.26 | 14.02 | 14.54 | 10.29 | 10.36 | 9.84 | 10.14 | Feb | 10.63 | 2.41 | 2.61 | 3.88 | 4.98 | 4.68
3 | Mar | 9.04 | 12.41 | 7.43 | 6.9 | 7.39 | 8.23 | 8.87 | 8.76 | 10.39 | 18.86 | 19.37 | 10.11 | 9.96 | 8.7 | 8.51 | 13.25 | 13.46 | 12.9 | 13.56 | 9.53 | 9.61 | 8.87 | 9.3 | Mar | 9.33 | 2.23 | 3.04 | 3.63 | 4.67 | 3.87
4 | Apr | 5.17 | 7.28 | 4.16 | 3.81 | 4.24 | 5.13 | 5.75 | 4.7 | 6.26 | 11.52 | 11.93 | 5.92 | 5.35 | 5.01 | 4.58 | 7.82 | 7.96 | 6.62 | 7.39 | 5.42 | 5.45 | 4.43 | 4.96 | Apr | 4.95 | 1.29 | 2.18 | 2.15 | 2.48 | 1.67
5 | May | 2.43 | 3.66 | 1.84 | 1.63 | 1.89 | 2.54 | 2.79 | 2.17 | 3.3 | 6.33 | 6.57 | 2.99 | 2.13 | 2.42 | 1.75 | 3.95 | 3.96 | 2.18 | 2.9 | 2.49 | 2.46 | 1.36 | 1.88 | May | 2.29 | 0.36 | 0.62 | 0.81 | 0.8 | 0.36
6 | Jun | 0.69 | 1.2 | 0.46 | 0.4 | 0.47 | 0.76 | 0.82 | 0.6 | 1.11 | 2.55 | 2.65 | 1.01 | 0.44 | 0.73 | 0.34 | 1.29 | 1.2 | 0.38 | 0.58 | 0.66 | 0.62 | 0.22 | 0.38 | Jun | 0.63 | 0.05 | 0.09 | 0.18 | 0.15 | 0.03
7 | Jul | 0.06 | 0.2 | 0.02 | 0.01 | 0.02 | 0.07 | 0.08 | 0.05 | 0.23 | 0.79 | 0.83 | 0.19 | 0 | 0.09 | 0 | 0.21 | 0.15 | 0 | 0 | 0.03 | 0.02 | 0 | 0 | Jul | 0.05 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.13 | 0.34 | 0.05 | 0.04 | 0.04 | 0.13 | 0.17 | 0.11 | 0.37 | 1.16 | 1.22 | 0.31 | 0 | 0.17 | 0 | 0.35 | 0.27 | 0 | 0 | 0.09 | 0.06 | 0 | 0 | Aug | 0.12 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.2 | 1.92 | 0.82 | 0.7 | 0.79 | 1.1 | 1.25 | 1.13 | 1.8 | 3.68 | 3.8 | 1.62 | 0.68 | 1.25 | 0.48 | 2.05 | 1.96 | 0.28 | 0.79 | 1.18 | 1.09 | 0.15 | 0.56 | Sep | 1.2 | 0 | 0 | 0.13 | 0.11 | 0
10 | Oct | 3.46 | 5.03 | 2.66 | 2.38 | 2.71 | 2.95 | 3.12 | 3.5 | 4.46 | 8.36 | 8.6 | 4.18 | 3.09 | 3.45 | 2.52 | 5.39 | 5.36 | 3.22 | 4.18 | 3.56 | 3.47 | 2.03 | 2.72 | Oct | 3.78 | 0.23 | 0.27 | 0.75 | 1.28 | 0.5
11 | Nov | 8.18 | 11.21 | 6.7 | 6.23 | 6.66 | 6.86 | 6.99 | 8.71 | 9.5 | 17.12 | 17.54 | 9.16 | 8.94 | 7.87 | 7.61 | 11.96 | 12.16 | 11.61 | 12.22 | 8.63 | 8.68 | 7.98 | 8.35 | Nov | 9.37 | 1.11 | 1.15 | 2.68 | 4.13 | 3.45
12 | Dec | 10.54 | 14.22 | 8.72 | 8.03 | 8.19 | 9.01 | 9.06 | 11.24 | 11.96 | 21.13 | 21.56 | 11.68 | 11.56 | 10.13 | 9.96 | 15.14 | 15.34 | 14.89 | 15.44 | 11.12 | 11.2 | 10.55 | 10.85 | Dec | 11.86 | 2.19 | 2.19 | 3.96 | 5.14 | 5.1
| Tot | 61.94 | 85.93 | 50.27 | 46.34 | 49.14 | 54.92 | 57.38 | 62.88 | 73.06 | 133.97 | 137.46 | 70.48 | 65.25 | 60.06 | 55.59 | 91.66 | 92.5 | 81.82 | 87.97 | 64.9 | 65.02 | 56.57 | 60.4 | Tot | 66.84 | 12.31 | 14.59 | 22.38 | 29.4 | 25.1
Seasonal Values: | [24 empty] | Tier 2 Results
| Htg_Coeff | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 11.3 | 15.27 | 9.34 | 8.72 | 8.96 | 9.61 | 9.69 | 11.94 | 12.68 | 22.73 | 23.21 | 12.52 | 12.22 | 10.86 | 10.5 | 16.19 | 16.41 | 15.72 | 16.37 | 11.91 | 11.99 | 11.16 | 11.26 |  | 12.63 | 2.44 | 2.45 | 4.2 | 5.68 | 5.44
2 | 1 | 9.74 | 13.21 | 8.07 | 7.5 | 7.79 | 8.54 | 8.8 | 9.99 | 11 | 19.74 | 20.19 | 10.81 | 10.87 | 9.37 | 9.34 | 14.05 | 14.26 | 14.02 | 14.54 | 10.29 | 10.36 | 9.84 | 10.14 |  | 10.63 | 2.41 | 2.61 | 3.88 | 4.98 | 4.68
3 | 1 | 9.04 | 12.41 | 7.43 | 6.9 | 7.39 | 8.23 | 8.87 | 8.76 | 10.39 | 18.86 | 19.37 | 10.11 | 9.96 | 8.7 | 8.51 | 13.25 | 13.46 | 12.9 | 13.56 | 9.53 | 9.61 | 8.87 | 9.3 |  | 9.33 | 2.23 | 3.04 | 3.63 | 4.67 | 3.87
4 | 1 | 5.17 | 7.28 | 4.16 | 3.81 | 4.24 | 5.13 | 5.75 | 4.7 | 6.26 | 11.52 | 11.93 | 5.92 | 5.35 | 5.01 | 4.58 | 7.82 | 7.96 | 6.62 | 7.39 | 5.42 | 5.45 | 4.43 | 4.96 |  | 4.95 | 1.29 | 2.18 | 2.15 | 2.48 | 1.67
5 | 1 | 2.43 | 3.66 | 1.84 | 1.63 | 1.89 | 2.54 | 2.79 | 2.17 | 3.3 | 6.33 | 6.57 | 2.99 | 2.13 | 2.42 | 1.75 | 3.95 | 3.96 | 2.18 | 2.9 | 2.49 | 2.46 | 1.36 | 1.88 |  | 2.29 | 0.36 | 0.62 | 0.81 | 0.8 | 0.36
6 | 1 | 0.69 | 1.2 | 0.46 | 0.4 | 0.47 | 0.76 | 0.82 | 0.6 | 1.11 | 2.55 | 2.65 | 1.01 | 0.44 | 0.73 | 0.34 | 1.29 | 1.2 | 0.38 | 0.58 | 0.66 | 0.62 | 0.22 | 0.38 |  | 0.63 | 0.05 | 0.09 | 0.18 | 0.15 | 0.03
7 | 1 | 0.06 | 0.2 | 0.02 | 0.01 | 0.02 | 0.07 | 0.08 | 0.05 | 0.23 | 0.79 | 0.83 | 0.19 |  | 0.09 |  | 0.21 | 0.15 |  |  | 0.03 | 0.02 |  |  |  | 0.05
8 | 1 | 0.13 | 0.34 | 0.05 | 0.04 | 0.04 | 0.13 | 0.17 | 0.11 | 0.37 | 1.16 | 1.22 | 0.31 |  | 0.17 |  | 0.35 | 0.27 |  |  | 0.09 | 0.06 |  |  |  | 0.12
9 | 1 | 1.2 | 1.92 | 0.82 | 0.7 | 0.79 | 1.1 | 1.25 | 1.13 | 1.8 | 3.68 | 3.8 | 1.62 | 0.68 | 1.25 | 0.48 | 2.05 | 1.96 | 0.28 | 0.79 | 1.18 | 1.09 | 0.15 | 0.56 |  | 1.2 |  |  | 0.13 | 0.11
10 | 1 | 3.46 | 5.03 | 2.66 | 2.38 | 2.71 | 2.95 | 3.12 | 3.5 | 4.46 | 8.36 | 8.6 | 4.18 | 3.09 | 3.45 | 2.52 | 5.39 | 5.36 | 3.22 | 4.18 | 3.56 | 3.47 | 2.03 | 2.72 |  | 3.78 | 0.23 | 0.27 | 0.75 | 1.28 | 0.5
11 | 1 | 8.18 | 11.21 | 6.7 | 6.23 | 6.66 | 6.86 | 6.99 | 8.71 | 9.5 | 17.12 | 17.54 | 9.16 | 8.94 | 7.87 | 7.61 | 11.96 | 12.16 | 11.61 | 12.22 | 8.63 | 8.68 | 7.98 | 8.35 |  | 9.37 | 1.11 | 1.15 | 2.68 | 4.13 | 3.45
12 | 1 | 10.54 | 14.22 | 8.72 | 8.03 | 8.19 | 9.01 | 9.06 | 11.24 | 11.96 | 21.13 | 21.56 | 11.68 | 11.56 | 10.13 | 9.96 | 15.14 | 15.34 | 14.89 | 15.44 | 11.12 | 11.2 | 10.55 | 10.85 |  | 11.86 | 2.19 | 2.19 | 3.96 | 5.14 | 5.1
| Tot | 61.94 | 85.95 | 50.27 | 46.35 | 49.15 | 54.93 | 57.39 | 62.9 | 73.06 | 133.97 | 137.47 | 70.5 | 65.24 | 60.05 | 55.59 | 91.65 | 92.49 | 81.82 | 87.97 | 64.91 | 65.01 | 56.59 | 60.4 |  | 66.84 | 12.31 | 14.6 | 22.37 | 29.42 | 25.1

## BLAST-ClgRes
| Table B20-11. BLAST 3.0 Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-12. BLAST 3.0 Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.07 | 0.03 | 0.08 | 0 | 0 | 1.91 | 1.55 | 0.01 | 0.03 | 0.01 | 0 | Jan | 0 | 0.62 | 0.62 | 2.17 | 0 | 0
2 | Feb | 0.38 | 0.24 | 0.41 | 0.06 | 0 | 2.39 | 1.58 | 0.22 | 0.22 | 0.21 | 0.1 | Feb | 0.07 | 0.17 | 0.14 | 1.42 | 0 | 0
3 | Mar | 1.44 | 1.15 | 1.46 | 0.55 | 0.07 | 3.35 | 1.69 | 1.58 | 1.01 | 1.04 | 0.69 | Mar | 1.01 | 0.03 | 0 | 1.09 | 0 | 0
4 | Apr | 2.18 | 1.92 | 2.16 | 1.16 | 0.36 | 2.78 | 1.16 | 3.16 | 1.6 | 1.83 | 1.42 | Apr | 2.38 | 0.25 | 0 | 0.91 | 0 | 0.16
5 | May | 5.85 | 6.02 | 5.55 | 3.9 | 2.14 | 5.51 | 4.3 | 7.59 | 4.76 | 6.56 | 5.81 | May | 6.53 | 0.48 | 0.03 | 1.27 | 0 | 0.48
6 | Jun | 9.43 | 10.26 | 8.72 | 6.72 | 4.61 | 8.71 | 7.85 | 11.41 | 8.1 | 11.96 | 10.99 | Jun | 10.26 | 2.05 | 1.34 | 2.55 | 0.21 | 2.42
7 | Jul | 12.16 | 13.62 | 11.15 | 8.84 | 6.57 | 11.51 | 10.69 | 13.98 | 10.67 | 16.4 | 15.44 | Jul | 12.92 | 3.1 | 2.33 | 3.47 | 0.65 | 3.46
8 | Aug | 10.87 | 12.01 | 10.02 | 7.85 | 5.65 | 11.18 | 9.19 | 12.31 | 9.41 | 14.21 | 13.26 | Aug | 11.28 | 3.7 | 2.02 | 4.15 | 0.53 | 3.25
9 | Sep | 7.76 | 8.24 | 7.33 | 5.35 | 3.32 | 9.33 | 7.08 | 8.4 | 6.51 | 9.21 | 8.44 | Sep | 7.4 | 3.59 | 2 | 4.4 | 0.29 | 2.01
10 | Oct | 3.92 | 3.79 | 3.84 | 2.36 | 0.8 | 6.76 | 5.43 | 3.59 | 3.13 | 3.89 | 3.24 | Oct | 2.75 | 3.29 | 2.68 | 4.64 | 0 | 0.65
11 | Nov | 0.6 | 0.43 | 0.63 | 0.17 | 0 | 3.08 | 2.55 | 0.37 | 0.39 | 0.39 | 0.22 | Nov | 0.17 | 0.58 | 0.54 | 2.33 | 0 | 0
12 | Dec | 0 | 0 | 0.01 | 0 | 0 | 1.22 | 1.02 | 0 | 0 | 0 | 0 | Dec | 0 | 0.25 | 0.24 | 1.79 | 0 | 0
| Tot | 54.66 | 57.7 | 51.34 | 36.95 | 23.52 | 67.72 | 54.08 | 62.61 | 45.83 | 65.7 | 59.61 | Tot | 54.77 | 18.11 | 11.95 | 30.18 | 1.67 | 12.42
Seasonal Values: | [12 empty] | Tier 2 Results
| Clg_Coeff | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 0.07 | 0.03 | 0.08 |  |  | 1.91 | 1.55 | 0.01 | 0.03 | 0.01 |  |  |  | 0.62 | 0.62 | 2.17
2 | 1 | 0.38 | 0.24 | 0.41 | 0.06 |  | 2.39 | 1.58 | 0.22 | 0.22 | 0.21 | 0.1 |  | 0.07 | 0.17 | 0.14 | 1.42
3 | 1 | 1.44 | 1.15 | 1.46 | 0.55 | 0.07 | 3.35 | 1.69 | 1.58 | 1.01 | 1.04 | 0.69 |  | 1.01 | 0.03 |  | 1.09
4 | 1 | 2.18 | 1.92 | 2.16 | 1.16 | 0.36 | 2.78 | 1.16 | 3.16 | 1.6 | 1.83 | 1.42 |  | 2.38 | 0.25 |  | 0.91 |  | 0.16
5 | 1 | 5.85 | 6.02 | 5.55 | 3.9 | 2.14 | 5.51 | 4.3 | 7.59 | 4.76 | 6.56 | 5.81 |  | 6.53 | 0.48 | 0.03 | 1.27 |  | 0.48
6 | 1 | 9.43 | 10.26 | 8.72 | 6.72 | 4.61 | 8.71 | 7.85 | 11.41 | 8.1 | 11.96 | 10.99 |  | 10.26 | 2.05 | 1.34 | 2.55 | 0.21 | 2.42
7 | 1 | 12.16 | 13.62 | 11.15 | 8.84 | 6.57 | 11.51 | 10.69 | 13.98 | 10.67 | 16.4 | 15.44 |  | 12.92 | 3.1 | 2.33 | 3.47 | 0.65 | 3.46
8 | 1 | 10.87 | 12.01 | 10.02 | 7.85 | 5.65 | 11.18 | 9.19 | 12.31 | 9.41 | 14.21 | 13.26 |  | 11.28 | 3.7 | 2.02 | 4.15 | 0.53 | 3.25
9 | 1 | 7.76 | 8.24 | 7.33 | 5.35 | 3.32 | 9.33 | 7.08 | 8.4 | 6.51 | 9.21 | 8.44 |  | 7.4 | 3.59 | 2 | 4.4 | 0.29 | 2.01
10 | 1 | 3.92 | 3.79 | 3.84 | 2.36 | 0.8 | 6.76 | 5.43 | 3.59 | 3.13 | 3.89 | 3.24 |  | 2.75 | 3.29 | 2.68 | 4.64 |  | 0.65
11 | 1 | 0.6 | 0.43 | 0.63 | 0.17 |  | 3.08 | 2.55 | 0.37 | 0.39 | 0.39 | 0.22 |  | 0.17 | 0.58 | 0.54 | 2.33
12 | 1 |  |  | 0.01 |  |  | 1.22 | 1.02 | [6 empty] | 0.25 | 0.24 | 1.79
| Tot | 54.66 | 57.71 | 51.36 | 36.96 | 23.52 | 67.73 | 54.09 | 62.62 | 45.83 | 65.71 | 59.61 |  | 54.77 | 18.11 | 11.94 | 30.19 | 1.68 | 12.43

## DOE-HtgRes
| Table B20-13. DOE-2.1E Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-14. DOE-2.1E Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 10.58 | 14.39 | 8.46 | 8.56 | 8.67 | 8.63 | 8.73 | 11.11 | 12.3 | 22.72 | 23.56 | 11.93 | 11.37 | 10.21 | 9.68 | 15.43 | 15.3 | 15.03 | 15.54 | 11.18 | 11.18 | 10.28 | 9.92 | Jan | 12.14 | 2.04 | 2.12 | 3.71 | 5.14 | 4.94
2 | Feb | 9.04 | 12.35 | 7.23 | 7.28 | 7.46 | 7.62 | 7.8 | 9.17 | 10.58 | 19.67 | 20.46 | 10.24 | 9.88 | 8.73 | 8.34 | 13.3 | 13.24 | 13.08 | 13.48 | 9.56 | 9.58 | 8.87 | 8.6 | Feb | 10.14 | 1.9 | 2.01 | 3.44 | 4.45 | 4.17
3 | Mar | 8.32 | 11.55 | 6.59 | 6.67 | 7.01 | 7.31 | 7.8 | 7.88 | 9.96 | 18.83 | 19.74 | 9.54 | 8.95 | 8.05 | 7.47 | 12.53 | 12.48 | 11.92 | 12.39 | 8.8 | 8.82 | 7.8 | 7.71 | Mar | 8.89 | 1.8 | 2.32 | 3.27 | 4.09 | 3.42
4 | Apr | 4.79 | 6.83 | 3.67 | 3.73 | 3.98 | 4.61 | 5.12 | 4.3 | 6.11 | 11.65 | 12.33 | 5.64 | 4.85 | 4.69 | 3.96 | 7.47 | 7.38 | 6.12 | 6.7 | 5.05 | 4.99 | 3.72 | 4.21 | Apr | 4.83 | 1.05 | 1.73 | 1.98 | 2.06 | 1.47
5 | May | 2.27 | 3.51 | 1.6 | 1.67 | 1.76 | 2.36 | 2.67 | 2.03 | 3.33 | 6.63 | 7 | 2.89 | 1.91 | 2.3 | 1.48 | 3.9 | 3.67 | 2.09 | 2.6 | 2.37 | 2.21 | 0.99 | 1.6 | May | 2.36 | 0.33 | 0.63 | 0.81 | 0.58 | 0.34
6 | Jun | 0.66 | 1.19 | 0.4 | 0.45 | 0.48 | 0.76 | 0.85 | 0.57 | 1.19 | 2.83 | 3 | 0.99 | 0.41 | 0.73 | 0.3 | 1.36 | 1.12 | 0.38 | 0.53 | 0.67 | 0.56 | 0.12 | 0.33 | Jun | 0.7 | 0.05 | 0.11 | 0.19 | 0.09 | 0.03
7 | Jul | 0.06 | 0.21 | 0.02 | 0.02 | 0.02 | 0.08 | 0.1 | 0.05 | 0.28 | 0.96 | 1.04 | 0.17 | 0 | 0.09 | 0 | 0.26 | 0.14 | 0 | 0 | 0.05 | 0.03 | 0 | 0 | Jul | 0.08 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.13 | 0.35 | 0.05 | 0.07 | 0.05 | 0.13 | 0.19 | 0.12 | 0.45 | 1.37 | 1.46 | 0.3 | 0 | 0.18 | 0 | 0.43 | 0.25 | 0 | 0.01 | 0.12 | 0.06 | 0 | 0 | Aug | 0.16 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.17 | 1.93 | 0.71 | 0.81 | 0.81 | 1 | 1.3 | 1.13 | 1.91 | 4.07 | 4.26 | 1.6 | 0.68 | 1.24 | 0.45 | 2.14 | 1.83 | 0.36 | 0.85 | 1.18 | 0.98 | 0.06 | 0.51 | Sep | 1.3 | 0 | 0.01 | 0.14 | 0.06 | 0
10 | Oct | 3.33 | 4.93 | 2.36 | 2.5 | 2.63 | 2.67 | 3.05 | 3.38 | 4.55 | 8.83 | 9.2 | 4.11 | 3.01 | 3.36 | 2.33 | 5.41 | 5.06 | 3.32 | 4.27 | 3.47 | 3.23 | 1.57 | 2.51 | Oct | 3.75 | 0.22 | 0.29 | 0.7 | 1.02 | 0.48
11 | Nov | 7.63 | 10.56 | 6 | 6.1 | 6.39 | 6.11 | 6.38 | 7.97 | 9.22 | 17.15 | 17.88 | 8.74 | 8.19 | 7.39 | 6.86 | 11.41 | 11.34 | 10.95 | 11.56 | 8.07 | 8.07 | 7.13 | 7.01 | Nov | 8.89 | 0.86 | 1.02 | 2.34 | 3.66 | 3.04
12 | Dec | 10.02 | 13.59 | 8.01 | 7.98 | 7.99 | 8.2 | 8.31 | 10.58 | 11.77 | 21.41 | 22.13 | 11.29 | 10.87 | 9.67 | 9.25 | 14.62 | 14.51 | 14.47 | 14.94 | 10.59 | 10.6 | 9.84 | 9.48 | Dec | 11.49 | 1.77 | 1.86 | 3.59 | 4.67 | 4.69
| Tot | 58 | 81.36 | 45.08 | 45.82 | 47.24 | 49.47 | 52.28 | 58.28 | 71.64 | 136.12 | 142.06 | 67.43 | 60.12 | 56.62 | 50.11 | 88.27 | 86.33 | 77.71 | 82.87 | 61.1 | 60.31 | 50.38 | 51.88 | Tot | 64.72 | 10.02 | 12.1 | 20.19 | 25.82 | 22.58
Seasonal Values: | [24 empty] | Tier 2 Results
| Htg_Coeff | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 10.58 | 14.39 | 8.46 | 8.56 | 8.67 | 8.63 | 8.73 | 11.11 | 12.3 | 22.72 | 23.56 | 11.93 | 11.37 | 10.21 | 9.68 | 15.43 | 15.3 | 15.03 | 15.54 | 11.18 | 11.18 | 10.28 | 9.92 |  | 12.14 | 2.04 | 2.12 | 3.71 | 5.14 | 4.94
2 | 1 | 9.04 | 12.35 | 7.23 | 7.28 | 7.46 | 7.62 | 7.8 | 9.17 | 10.58 | 19.67 | 20.46 | 10.24 | 9.88 | 8.73 | 8.34 | 13.3 | 13.24 | 13.08 | 13.48 | 9.56 | 9.58 | 8.87 | 8.6 |  | 10.14 | 1.9 | 2.01 | 3.44 | 4.45 | 4.17
3 | 1 | 8.32 | 11.55 | 6.59 | 6.67 | 7.01 | 7.31 | 7.8 | 7.88 | 9.96 | 18.83 | 19.74 | 9.54 | 8.95 | 8.05 | 7.47 | 12.53 | 12.48 | 11.92 | 12.39 | 8.8 | 8.82 | 7.8 | 7.71 |  | 8.89 | 1.8 | 2.32 | 3.27 | 4.09 | 3.42
4 | 1 | 4.79 | 6.83 | 3.67 | 3.73 | 3.98 | 4.61 | 5.12 | 4.3 | 6.11 | 11.65 | 12.33 | 5.64 | 4.85 | 4.69 | 3.96 | 7.47 | 7.38 | 6.12 | 6.7 | 5.05 | 4.99 | 3.72 | 4.21 |  | 4.83 | 1.05 | 1.73 | 1.98 | 2.06 | 1.47
5 | 1 | 2.27 | 3.51 | 1.6 | 1.67 | 1.76 | 2.36 | 2.67 | 2.03 | 3.33 | 6.63 | 7 | 2.89 | 1.91 | 2.3 | 1.48 | 3.9 | 3.67 | 2.09 | 2.6 | 2.37 | 2.21 | 0.99 | 1.6 |  | 2.36 | 0.33 | 0.63 | 0.81 | 0.58 | 0.34
6 | 1 | 0.66 | 1.19 | 0.4 | 0.45 | 0.48 | 0.76 | 0.85 | 0.57 | 1.19 | 2.83 | 3 | 0.99 | 0.41 | 0.73 | 0.3 | 1.36 | 1.12 | 0.38 | 0.53 | 0.67 | 0.56 | 0.12 | 0.33 |  | 0.7 | 0.05 | 0.11 | 0.19 | 0.09 | 0.03
7 | 1 | 0.06 | 0.21 | 0.02 | 0.02 | 0.02 | 0.08 | 0.1 | 0.05 | 0.28 | 0.96 | 1.04 | 0.17 |  | 0.09 |  | 0.26 | 0.14 |  |  | 0.05 | 0.03 |  |  |  | 0.08
8 | 1 | 0.13 | 0.35 | 0.05 | 0.07 | 0.05 | 0.13 | 0.19 | 0.12 | 0.45 | 1.37 | 1.46 | 0.3 |  | 0.18 |  | 0.43 | 0.25 |  | 0.01 | 0.12 | 0.06 |  |  |  | 0.16
9 | 1 | 1.17 | 1.93 | 0.71 | 0.81 | 0.81 | 1 | 1.3 | 1.13 | 1.91 | 4.07 | 4.26 | 1.6 | 0.68 | 1.24 | 0.45 | 2.14 | 1.83 | 0.36 | 0.85 | 1.18 | 0.98 | 0.06 | 0.51 |  | 1.3 |  | 0.01 | 0.14 | 0.06
10 | 1 | 3.33 | 4.93 | 2.36 | 2.5 | 2.63 | 2.67 | 3.05 | 3.38 | 4.55 | 8.83 | 9.2 | 4.11 | 3.01 | 3.36 | 2.33 | 5.41 | 5.06 | 3.32 | 4.27 | 3.47 | 3.23 | 1.57 | 2.51 |  | 3.75 | 0.22 | 0.29 | 0.7 | 1.02 | 0.48
11 | 1 | 7.63 | 10.56 | 6 | 6.1 | 6.39 | 6.11 | 6.38 | 7.97 | 9.22 | 17.15 | 17.88 | 8.74 | 8.19 | 7.39 | 6.86 | 11.41 | 11.34 | 10.95 | 11.56 | 8.07 | 8.07 | 7.13 | 7.01 |  | 8.89 | 0.86 | 1.02 | 2.34 | 3.66 | 3.04
12 | 1 | 10.02 | 13.59 | 8.01 | 7.98 | 7.99 | 8.2 | 8.31 | 10.58 | 11.77 | 21.41 | 22.13 | 11.29 | 10.87 | 9.67 | 9.25 | 14.62 | 14.51 | 14.47 | 14.94 | 10.59 | 10.6 | 9.84 | 9.48 |  | 11.49 | 1.77 | 1.86 | 3.59 | 4.67 | 4.69
| Tot | 58 | 81.39 | 45.1 | 45.84 | 47.25 | 49.48 | 52.3 | 58.29 | 71.65 | 136.12 | 142.06 | 67.44 | 60.12 | 56.64 | 50.12 | 88.26 | 86.32 | 77.72 | 82.87 | 61.11 | 60.31 | 50.38 | 51.88 |  | 64.73 | 10.02 | 12.1 | 20.17 | 25.82 | 22.58

## DOE-ClgRes
| Table B20-15. DOE-2.1E Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-16. DOE-2.1E Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.24 | 0.1 | 0.24 | 0.02 | 0 | 2.94 | 2.5 | 0.05 | 0.1 | 0.08 | 0 | Jan | 0 | 1.19 | 1.12 | 2.8 | 0 | 0
2 | Feb | 0.83 | 0.54 | 0.83 | 0.19 | 0 | 3.59 | 2.81 | 0.5 | 0.49 | 0.54 | 0.23 | Feb | 0.11 | 0.47 | 0.39 | 2.13 | 0 | 0
3 | Mar | 2.24 | 1.8 | 2.13 | 0.9 | 0.13 | 4.55 | 3.01 | 2.41 | 1.56 | 1.79 | 0.99 | Mar | 1.1 | 0.21 | 0.03 | 1.54 | 0 | 0
4 | Apr | 2.98 | 2.62 | 2.83 | 1.57 | 0.54 | 3.82 | 2.03 | 4.16 | 2.15 | 2.59 | 1.72 | Apr | 2.48 | 0.43 | 0.13 | 1.34 | 0 | 0.27
5 | May | 6.5 | 6.71 | 6.03 | 4.39 | 2.55 | 6.01 | 4.46 | 8.51 | 5.13 | 7.46 | 6.13 | May | 6.39 | 0.73 | 0.1 | 1.56 | 0 | 0.81
6 | Jun | 9.88 | 10.84 | 8.97 | 7.26 | 5.14 | 8.74 | 7.79 | 11.98 | 8.21 | 12.71 | 11.1 | Jun | 9.74 | 2.18 | 1.4 | 2.69 | 0.44 | 2.75
7 | Jul | 12.64 | 14.29 | 11.42 | 9.49 | 7.15 | 11.76 | 10.61 | 14.52 | 10.75 | 17.18 | 15.68 | Jul | 12.32 | 3.51 | 2.45 | 3.86 | 1.09 | 3.92
8 | Aug | 11.41 | 12.71 | 10.37 | 8.47 | 6.19 | 11.58 | 9.15 | 12.92 | 9.58 | 15.03 | 13.48 | Aug | 10.79 | 4.14 | 2.09 | 4.55 | 0.91 | 3.71
9 | Sep | 8.46 | 9.03 | 7.89 | 5.91 | 3.76 | 10.35 | 6.69 | 9 | 6.92 | 10.2 | 8.91 | Sep | 7.14 | 4.31 | 1.91 | 5.15 | 0.4 | 2.56
10 | Oct | 4.57 | 4.47 | 4.37 | 2.76 | 1.08 | 7.73 | 5.26 | 4.15 | 3.58 | 4.79 | 3.67 | Oct | 2.66 | 3.94 | 2.4 | 5.31 | 0 | 1.01
11 | Nov | 0.99 | 0.7 | 0.99 | 0.29 | 0 | 4.13 | 3.04 | 0.49 | 0.6 | 0.72 | 0.33 | Nov | 0.14 | 1.28 | 1.03 | 3.11 | 0 | 0
12 | Dec | 0.06 | 0.01 | 0.07 | 0 | 0 | 2.15 | 1.71 | 0 | 0.01 | 0.01 | 0 | Dec | 0 | 0.62 | 0.56 | 2.44 | 0 | 0
| Tot | 60.8 | 63.83 | 56.14 | 41.26 | 26.54 | 77.35 | 59.06 | 68.68 | 49.06 | 73.1 | 62.24 | Tot | 52.88 | 23.03 | 13.63 | 36.49 | 2.84 | 15.03
Seasonal Values: | [12 empty] | Tier 2 Results
| Clg_Coeff | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 0.24 | 0.1 | 0.24 | 0.02 |  | 2.94 | 2.5 | 0.05 | 0.1 | 0.08 |  |  |  | 1.19 | 1.12 | 2.8
2 | 1 | 0.83 | 0.54 | 0.83 | 0.19 |  | 3.59 | 2.81 | 0.5 | 0.49 | 0.54 | 0.23 |  | 0.11 | 0.47 | 0.39 | 2.13
3 | 1 | 2.24 | 1.8 | 2.13 | 0.9 | 0.13 | 4.55 | 3.01 | 2.41 | 1.56 | 1.79 | 0.99 |  | 1.1 | 0.21 | 0.03 | 1.54
4 | 1 | 2.98 | 2.62 | 2.83 | 1.57 | 0.54 | 3.82 | 2.03 | 4.16 | 2.15 | 2.59 | 1.72 |  | 2.48 | 0.43 | 0.13 | 1.34 |  | 0.27
5 | 1 | 6.5 | 6.71 | 6.03 | 4.39 | 2.55 | 6.01 | 4.46 | 8.51 | 5.13 | 7.46 | 6.13 |  | 6.39 | 0.73 | 0.1 | 1.56 |  | 0.81
6 | 1 | 9.88 | 10.84 | 8.97 | 7.26 | 5.14 | 8.74 | 7.79 | 11.98 | 8.21 | 12.71 | 11.1 |  | 9.74 | 2.18 | 1.4 | 2.69 | 0.44 | 2.75
7 | 1 | 12.64 | 14.29 | 11.42 | 9.49 | 7.15 | 11.76 | 10.61 | 14.52 | 10.75 | 17.18 | 15.68 |  | 12.32 | 3.51 | 2.45 | 3.86 | 1.09 | 3.92
8 | 1 | 11.41 | 12.71 | 10.37 | 8.47 | 6.19 | 11.58 | 9.15 | 12.92 | 9.58 | 15.03 | 13.48 |  | 10.79 | 4.14 | 2.09 | 4.55 | 0.91 | 3.71
9 | 1 | 8.46 | 9.03 | 7.89 | 5.91 | 3.76 | 10.35 | 6.69 | 9 | 6.92 | 10.2 | 8.91 |  | 7.14 | 4.31 | 1.91 | 5.15 | 0.4 | 2.56
10 | 1 | 4.57 | 4.47 | 4.37 | 2.76 | 1.08 | 7.73 | 5.26 | 4.15 | 3.58 | 4.79 | 3.67 |  | 2.66 | 3.94 | 2.4 | 5.31 |  | 1.01
11 | 1 | 0.99 | 0.7 | 0.99 | 0.29 |  | 4.13 | 3.04 | 0.49 | 0.6 | 0.72 | 0.33 |  | 0.14 | 1.28 | 1.03 | 3.11
12 | 1 | 0.06 | 0.01 | 0.07 |  |  | 2.15 | 1.71 |  | 0.01 | 0.01 |  |  |  | 0.62 | 0.56 | 2.44
| Tot | 60.8 | 63.82 | 56.14 | 41.25 | 26.54 | 77.35 | 59.06 | 68.69 | 49.08 | 73.1 | 62.24 |  | 52.87 | 23.01 | 13.61 | 36.48 | 2.84 | 15.03

## SRES-HtgRes
| Table B20-17. SERIRES/SUNCODE 5.7 Monthly and Total Heating Loads (million Btu) | [23 empty] | Table B20-18. SERIRES/SUNCODE 5.7 Monthly and Total Heating Loads (million Btu)
|  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 13.38 | 17.31 | 10.94 | 9.46 | 9.55 | 11.39 | 11.5 | 14.11 | 15 | 28.72 | 29.22 | 14.96 | 13.92 | 12.72 | 11.94 | 19.07 | 19.23 | 17.76 | 17.78 | 13.59 | 13.68 | 12.23 | 12.41 | Jan | 14.9 | 2.97 | 3.01 | 4.56 | 5.69 | 6.09
2 | Feb | 11.34 | 14.77 | 9.26 | 8.05 | 8.25 | 9.89 | 10.17 | 11.67 | 12.8 | 24.72 | 25.25 | 12.73 | 12.31 | 10.78 | 10.46 | 16.28 | 16.46 | 15.43 | 15.46 | 11.52 | 11.62 | 10.58 | 10.75 | Feb | 12.38 | 2.77 | 2.95 | 4.08 | 4.95 | 5.12
3 | Mar | 10.35 | 13.7 | 8.37 | 7.35 | 7.78 | 9.42 | 10.18 | 10.01 | 11.91 | 23.41 | 24.06 | 11.73 | 11.11 | 9.82 | 9.35 | 15.1 | 15.31 | 14.13 | 14.14 | 10.48 | 10.59 | 9.62 | 9.85 | Mar | 10.64 | 2.57 | 3.44 | 3.83 | 4.62 | 4.26
4 | Apr | 5.94 | 8.08 | 4.69 | 4.07 | 4.5 | 5.86 | 6.59 | 5.4 | 7.22 | 14.4 | 14.93 | 6.88 | 6.09 | 5.66 | 5.12 | 8.88 | 9.12 | 7.95 | 7.91 | 5.93 | 6.04 | 5.45 | 5.69 | Apr | 5.69 | 1.43 | 2.4 | 2.25 | 2.46 | 1.89
5 | May | 2.81 | 4.08 | 2.07 | 1.74 | 2.03 | 2.96 | 3.23 | 2.52 | 3.84 | 7.98 | 8.31 | 3.45 | 2.3 | 2.73 | 1.86 | 4.44 | 4.62 | 3.27 | 3.2 | 2.68 | 2.77 | 2.24 | 2.54 | May | 2.66 | 0.39 | 0.72 | 0.88 | 0.81 | 0.43
6 | Jun | 0.83 | 1.37 | 0.54 | 0.44 | 0.53 | 0.92 | 0.99 | 0.72 | 1.34 | 3.24 | 3.38 | 1.16 | 0.48 | 0.85 | 0.38 | 1.43 | 1.5 | 0.72 | 0.7 | 0.72 | 0.75 | 0.5 | 0.67 | Jun | 0.77 | 0.05 | 0.1 | 0.2 | 0.14 | 0.04
7 | Jul | 0.09 | 0.25 | 0.03 | 0.02 | 0.02 | 0.1 | 0.12 | 0.08 | 0.31 | 0.99 | 1.05 | 0.21 | 0 | 0.11 | 0 | 0.22 | 0.25 | 0 | 0 | 0.05 | 0.05 | 0 | 0.02 | Jul | 0.09 | 0 | 0 | 0 | 0 | 0
8 | Aug | 0.19 | 0.42 | 0.08 | 0.06 | 0.06 | 0.19 | 0.24 | 0.16 | 0.51 | 1.5 | 1.57 | 0.35 | 0 | 0.21 | 0 | 0.39 | 0.44 | 0 | 0 | 0.12 | 0.13 | 0 | 0.06 | Aug | 0.18 | 0 | 0 | 0 | 0 | 0
9 | Sep | 1.47 | 2.23 | 0.98 | 0.78 | 0.93 | 1.31 | 1.5 | 1.39 | 2.19 | 4.7 | 4.85 | 1.91 | 0.64 | 1.47 | 0.39 | 2.38 | 2.45 | 0.63 | 0.61 | 1.3 | 1.35 | 0.36 | 0.85 | Sep | 1.48 | 0 | 0 | 0.14 | 0.13 | 0.01
10 | Oct | 4.1 | 5.73 | 3.07 | 2.6 | 2.98 | 3.45 | 3.66 | 4.15 | 5.28 | 10.62 | 10.91 | 4.91 | 3.37 | 3.99 | 2.68 | 6.23 | 6.38 | 4.04 | 3.92 | 3.95 | 4.04 | 2.48 | 3 | Oct | 4.48 | 0.23 | 0.28 | 0.77 | 1.32 | 0.66
11 | Nov | 9.51 | 12.55 | 7.67 | 6.7 | 7.09 | 7.95 | 8.08 | 10.11 | 11.04 | 21.44 | 21.94 | 10.77 | 9.83 | 9.04 | 8.22 | 13.84 | 14.07 | 12.18 | 12.14 | 9.64 | 9.76 | 7.94 | 8.17 | Nov | 10.87 | 1.29 | 1.33 | 2.79 | 4.13 | 3.85
12 | Dec | 12.38 | 16.04 | 10.12 | 8.71 | 8.76 | 10.59 | 10.64 | 13.19 | 14.02 | 26.62 | 27.08 | 13.86 | 13.05 | 11.78 | 11.19 | 17.68 | 17.85 | 16.28 | 16.24 | 12.6 | 12.69 | 11.05 | 11.29 | Dec | 13.91 | 2.7 | 2.73 | 4.28 | 5.17 | 5.66
| Tot | 72.4 | 96.52 | 57.83 | 49.98 | 52.48 | 64.03 | 66.91 | 73.5 | 85.45 | 168.33 | 172.54 | 82.9 | 73.1 | 69.15 | 61.58 | 105.94 | 107.69 | 92.38 | 92.11 | 72.56 | 73.47 | 62.44 | 65.3 | Tot | 78.04 | 14.4 | 16.97 | 23.79 | 29.42 | 27.99
Seasonal Values: | [24 empty] | Tier 2 Results
| Htg_Coeff | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2 |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 13.38 | 17.31 | 10.94 | 9.46 | 9.55 | 11.39 | 11.5 | 14.11 | 15 | 28.72 | 29.22 | 14.96 | 13.92 | 12.72 | 11.94 | 19.07 | 19.23 | 17.76 | 17.78 | 13.59 | 13.68 | 12.23 | 12.41 |  | 14.9 | 2.97 | 3.01 | 4.56 | 5.69 | 6.09
2 | 1 | 11.34 | 14.77 | 9.26 | 8.05 | 8.25 | 9.89 | 10.17 | 11.67 | 12.8 | 24.72 | 25.25 | 12.73 | 12.31 | 10.78 | 10.46 | 16.28 | 16.46 | 15.43 | 15.46 | 11.52 | 11.62 | 10.58 | 10.75 |  | 12.38 | 2.77 | 2.95 | 4.08 | 4.95 | 5.12
3 | 1 | 10.35 | 13.7 | 8.37 | 7.35 | 7.78 | 9.42 | 10.18 | 10.01 | 11.91 | 23.41 | 24.06 | 11.73 | 11.11 | 9.82 | 9.35 | 15.1 | 15.31 | 14.13 | 14.14 | 10.48 | 10.59 | 9.62 | 9.85 |  | 10.64 | 2.57 | 3.44 | 3.83 | 4.62 | 4.26
4 | 1 | 5.94 | 8.08 | 4.69 | 4.07 | 4.5 | 5.86 | 6.59 | 5.4 | 7.22 | 14.4 | 14.93 | 6.88 | 6.09 | 5.66 | 5.12 | 8.88 | 9.12 | 7.95 | 7.91 | 5.93 | 6.04 | 5.45 | 5.69 |  | 5.69 | 1.43 | 2.4 | 2.25 | 2.46 | 1.89
5 | 1 | 2.81 | 4.08 | 2.07 | 1.74 | 2.03 | 2.96 | 3.23 | 2.52 | 3.84 | 7.98 | 8.31 | 3.45 | 2.3 | 2.73 | 1.86 | 4.44 | 4.62 | 3.27 | 3.2 | 2.68 | 2.77 | 2.24 | 2.54 |  | 2.66 | 0.39 | 0.72 | 0.88 | 0.81 | 0.43
6 | 1 | 0.83 | 1.37 | 0.54 | 0.44 | 0.53 | 0.92 | 0.99 | 0.72 | 1.34 | 3.24 | 3.38 | 1.16 | 0.48 | 0.85 | 0.38 | 1.43 | 1.5 | 0.72 | 0.7 | 0.72 | 0.75 | 0.5 | 0.67 |  | 0.77 | 0.05 | 0.1 | 0.2 | 0.14 | 0.04
7 | 1 | 0.09 | 0.25 | 0.03 | 0.02 | 0.02 | 0.1 | 0.12 | 0.08 | 0.31 | 0.99 | 1.05 | 0.21 |  | 0.11 |  | 0.22 | 0.25 |  |  | 0.05 | 0.05 |  | 0.02 |  | 0.09
8 | 1 | 0.19 | 0.42 | 0.08 | 0.06 | 0.06 | 0.19 | 0.24 | 0.16 | 0.51 | 1.5 | 1.57 | 0.35 |  | 0.21 |  | 0.39 | 0.44 |  |  | 0.12 | 0.13 |  | 0.06 |  | 0.18
9 | 1 | 1.47 | 2.23 | 0.98 | 0.78 | 0.93 | 1.31 | 1.5 | 1.39 | 2.19 | 4.7 | 4.85 | 1.91 | 0.64 | 1.47 | 0.39 | 2.38 | 2.45 | 0.63 | 0.61 | 1.3 | 1.35 | 0.36 | 0.85 |  | 1.48 |  |  | 0.14 | 0.13 | 0.01
10 | 1 | 4.1 | 5.73 | 3.07 | 2.6 | 2.98 | 3.45 | 3.66 | 4.15 | 5.28 | 10.62 | 10.91 | 4.91 | 3.37 | 3.99 | 2.68 | 6.23 | 6.38 | 4.04 | 3.92 | 3.95 | 4.04 | 2.48 | 3 |  | 4.48 | 0.23 | 0.28 | 0.77 | 1.32 | 0.66
11 | 1 | 9.51 | 12.55 | 7.67 | 6.7 | 7.09 | 7.95 | 8.08 | 10.11 | 11.04 | 21.44 | 21.94 | 10.77 | 9.83 | 9.04 | 8.22 | 13.84 | 14.07 | 12.18 | 12.14 | 9.64 | 9.76 | 7.94 | 8.17 |  | 10.87 | 1.29 | 1.33 | 2.79 | 4.13 | 3.85
12 | 1 | 12.38 | 16.04 | 10.12 | 8.71 | 8.76 | 10.59 | 10.64 | 13.19 | 14.02 | 26.62 | 27.08 | 13.86 | 13.05 | 11.78 | 11.19 | 17.68 | 17.85 | 16.28 | 16.24 | 12.6 | 12.69 | 11.05 | 11.29 |  | 13.91 | 2.7 | 2.73 | 4.28 | 5.17 | 5.66
| Tot | 72.39 | 96.53 | 57.82 | 49.98 | 52.48 | 64.03 | 66.9 | 73.51 | 85.46 | 168.34 | 172.55 | 82.92 | 73.1 | 69.16 | 61.59 | 105.94 | 107.68 | 92.39 | 92.1 | 72.58 | 73.47 | 62.45 | 65.3 |  | 78.05 | 14.4 | 16.96 | 23.78 | 29.42 | 28.01

## SRES-ClgRes
| Table B20-19. SERIRES/SUNCODE 5.7 Monthly and Total Sensible Cooling Loads (million Btu) | [11 empty] | Table B20-20. SERIRES/SUNCODE 5.7 Monthly and Total Sensible Cooling Loads (million Btu)
|  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | Jan | 0.01 | 0 | 0.02 | 0 | 0 | 1.25 | 0.92 | 0 | 0 | 0 | 0 | Jan | 0 | 0.87 | 0.83 | 2.07 | 0 | 0
2 | Feb | 0.26 | 0.18 | 0.28 | 0.04 | 0 | 2.17 | 1.4 | 0.14 | 0.14 | 0.14 | 0.08 | Feb | 0.05 | 0.25 | 0.19 | 1.39 | 0 | 0
3 | Mar | 1.32 | 1.07 | 1.33 | 0.48 | 0.06 | 3.25 | 1.5 | 1.48 | 0.87 | 0.98 | 0.69 | Mar | 0.92 | 0.07 | 0 | 0.98 | 0 | 0
4 | Apr | 2.35 | 2.08 | 2.3 | 1.21 | 0.37 | 3.14 | 1.23 | 3.35 | 1.66 | 2.05 | 1.62 | Apr | 2.49 | 0.3 | 0.01 | 0.95 | 0 | 0.22
5 | May | 6.46 | 6.66 | 6.03 | 4.16 | 2.27 | 6.1 | 4.78 | 8.35 | 5.18 | 7.77 | 6.88 | May | 7.23 | 0.55 | 0.05 | 1.3 | 0 | 0.64
6 | Jun | 10.31 | 11.26 | 9.42 | 7.07 | 4.8 | 9.43 | 8.67 | 12.38 | 8.76 | 14.01 | 13.03 | Jun | 11.21 | 2.09 | 1.44 | 2.56 | 0.23 | 2.63
7 | Jul | 13.52 | 15.17 | 12.23 | 9.46 | 6.95 | 12.89 | 11.91 | 15.42 | 11.79 | 19.5 | 18.53 | Jul | 14.35 | 3.37 | 2.46 | 3.72 | 0.68 | 3.76
8 | Aug | 12 | 13.3 | 10.95 | 8.33 | 5.91 | 12.36 | 10.19 | 13.49 | 10.32 | 16.78 | 15.85 | Aug | 12.42 | 3.88 | 2.12 | 4.31 | 0.54 | 3.49
9 | Sep | 8.62 | 9.19 | 8.05 | 5.76 | 3.5 | 10.54 | 8.14 | 9.18 | 7.18 | 10.96 | 10.1 | Sep | 8.11 | 4.02 | 2.39 | 4.83 | 0.29 | 2.41
10 | Oct | 4.04 | 3.95 | 3.94 | 2.33 | 0.78 | 7.09 | 5.65 | 3.63 | 3.14 | 4.26 | 3.64 | Oct | 2.75 | 3.54 | 2.91 | 4.83 | 0 | 0.88
11 | Nov | 0.43 | 0.32 | 0.46 | 0.09 | 0 | 2.87 | 2.35 | 0.2 | 0.26 | 0.26 | 0.15 | Nov | 0.05 | 0.78 | 0.73 | 2.31 | 0 | 0
12 | Dec | 0 | 0 | 0 | 0 | 0 | 0.94 | 0.77 | 0 | 0 | 0 | 0 | Dec | 0 | 0.35 | 0.33 | 1.61 | 0 | 0
| Tot | 59.32 | 63.16 | 55.01 | 38.92 | 24.65 | 72.04 | 57.51 | 67.6 | 49.31 | 76.71 | 70.58 | Tot | 59.59 | 20.08 | 13.45 | 30.86 | 1.73 | 14.03
Seasonal Values: | [12 empty] | Tier 2 Results
| Clg_Coeff | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
1 | 1 | 0.01 |  | 0.02 |  |  | 1.25 | 0.92 | [6 empty] | 0.87 | 0.83 | 2.07
2 | 1 | 0.26 | 0.18 | 0.28 | 0.04 |  | 2.17 | 1.4 | 0.14 | 0.14 | 0.14 | 0.08 |  | 0.05 | 0.25 | 0.19 | 1.39
3 | 1 | 1.32 | 1.07 | 1.33 | 0.48 | 0.06 | 3.25 | 1.5 | 1.48 | 0.87 | 0.98 | 0.69 |  | 0.92 | 0.07 |  | 0.98
4 | 1 | 2.35 | 2.08 | 2.3 | 1.21 | 0.37 | 3.14 | 1.23 | 3.35 | 1.66 | 2.05 | 1.62 |  | 2.49 | 0.3 | 0.01 | 0.95 |  | 0.22
5 | 1 | 6.46 | 6.66 | 6.03 | 4.16 | 2.27 | 6.1 | 4.78 | 8.35 | 5.18 | 7.77 | 6.88 |  | 7.23 | 0.55 | 0.05 | 1.3 |  | 0.64
6 | 1 | 10.31 | 11.26 | 9.42 | 7.07 | 4.8 | 9.43 | 8.67 | 12.38 | 8.76 | 14.01 | 13.03 |  | 11.21 | 2.09 | 1.44 | 2.56 | 0.23 | 2.63
7 | 1 | 13.52 | 15.17 | 12.23 | 9.46 | 6.95 | 12.89 | 11.91 | 15.42 | 11.79 | 19.5 | 18.53 |  | 14.35 | 3.37 | 2.46 | 3.72 | 0.68 | 3.76
8 | 1 | 12 | 13.3 | 10.95 | 8.33 | 5.91 | 12.36 | 10.19 | 13.49 | 10.32 | 16.78 | 15.85 |  | 12.42 | 3.88 | 2.12 | 4.31 | 0.54 | 3.49
9 | 1 | 8.62 | 9.19 | 8.05 | 5.76 | 3.5 | 10.54 | 8.14 | 9.18 | 7.18 | 10.96 | 10.1 |  | 8.11 | 4.02 | 2.39 | 4.83 | 0.29 | 2.41
10 | 1 | 4.04 | 3.95 | 3.94 | 2.33 | 0.78 | 7.09 | 5.65 | 3.63 | 3.14 | 4.26 | 3.64 |  | 2.75 | 3.54 | 2.91 | 4.83 |  | 0.88
11 | 1 | 0.43 | 0.32 | 0.46 | 0.09 |  | 2.87 | 2.35 | 0.2 | 0.26 | 0.26 | 0.15 |  | 0.05 | 0.78 | 0.73 | 2.31
12 | 1 | [5 empty] | 0.94 | 0.77 | [6 empty] | 0.35 | 0.33 | 1.61
| Tot | 59.32 | 63.18 | 55.01 | 38.93 | 24.64 | 72.03 | 57.51 | 67.62 | 49.3 | 76.71 | 70.57 |  | 59.58 | 20.07 | 13.46 | 30.86 | 1.74 | 14.03

## PlotData
Plot data for all charts:
Tier 1 Results:
Heating Absolutes |  | L100AC | L110AC | L120AC | L130AC | L140AC | L150AC | L155AC | L160AC | L170AC | L200AC | L202AC
| BLAST 3.0 | 61.94 | 85.95 | 50.27 | 46.35 | 49.15 | 54.93 | 57.39 | 62.9 | 73.06 | 133.97 | 137.47
| DOE-2.1E | 58 | 81.39 | 45.1 | 45.84 | 47.25 | 49.48 | 52.3 | 58.29 | 71.65 | 136.12 | 142.06
| SRES/SUN 5.7 | 72.39 | 96.53 | 57.82 | 49.98 | 52.48 | 64.03 | 66.9 | 73.51 | 85.46 | 168.34 | 172.55
| Tested Software 1.0 | 64.11 | 87.9567 | 51.0633 | 47.39 | 49.6267 | 56.1467 | 58.8633 | 64.9 | 76.7233 | 146.1433 | 150.6933
|  | L302AB | L304AB | L322AB | L324AB | L302AC | L302BC | L304AC | L304BC | L322A1 | L322A2 | L322B1 | L322B2 | L324A1 | L324A2 | L324B1 | L324B2
| BLAST 3.0, min | 65.24 | 55.59 | 81.82 | 56.59 | 70.5 | 65.24 | 60.05 | 55.59 | 91.65 | 92.49 | 81.82 | 87.97 | 64.91 | 65.01 | 56.59 | 60.4
| BLAST 3.0, max | 70.5 | 60.05 | 92.49 | 65.01
| DOE-2.1E, min | 60.12 | 50.12 | 77.72 | 50.38 | 67.44 | 60.12 | 56.64 | 50.12 | 88.26 | 86.32 | 77.72 | 82.87 | 61.11 | 60.31 | 50.38 | 51.88
| DOE-2.1E, max | 67.44 | 56.64 | 88.26 | 61.11
| SRES/SUN 5.7, min | 73.1 | 61.59 | 92.1 | 62.45 | 82.92 | 73.1 | 69.16 | 61.59 | 105.94 | 107.68 | 92.39 | 92.1 | 72.58 | 73.47 | 62.45 | 65.3
| SRES/SUN 5.7, max | 82.92 | 69.16 | 107.68 | 73.47
| Tested Software 1.0 | 73.62 | 61.95 | 95.2833 | 66.2
Heating Deltas |  | L110AC-L100AC | L120AC-L100AC | L130AC-L100AC | L140AC-L100AC | L150AC-L100AC | L155AC-L150AC | L160AC-L100AC | L170AC-L100AC | L200AC-L100AC | L202AC-L200AC
| BLAST 3.0 | 24.01 | -11.67 | -15.59 | -12.79 | -7.01 | 2.46 | 0.96 | 11.12 | 72.03 | 3.5
| DOE-2.1E | 23.39 | -12.9 | -12.16 | -10.75 | -8.52 | 2.82 | 0.29 | 13.65 | 78.12 | 5.94
| SRES/SUN 5.7 | 24.14 | -14.57 | -22.41 | -19.91 | -8.36 | 2.87 | 1.12 | 13.07 | 95.95 | 4.21
| Tested Software 1.0 | 23.8467 | -13.0467 | -16.72 | -14.4833 | -7.9633 | 2.7167 | 0.79 | 12.6133 | 82.0333 | 4.55
|  | L302AB-L100AC | L302AB-L304AB | L322AB-L100AC | L322AB-L324AB | L302AC-L100AC | L302BC-L100AC | L302AC-L304AC | L302BC-L304BC | L322A1-L100AC | L322A2-L100AC | L322B1-L100AC | L322B2-L100AC | L322A1-L324A1 | L322A2-L324A2 | L322B1-L324B1 | L322B2-L324B2
| BLAST 3.0, min | 3.3 | 9.65 | 19.88 | 25.23 | 8.56 | 3.3 | 10.45 | 9.65 | 29.71 | 30.55 | 19.88 | 26.03 | 26.74 | 27.48 | 25.23 | 27.57
| BLAST 3.0, max | 8.56 | 10.45 | 30.55 | 27.57
| DOE-2.1E, min | 2.12 | 10 | 19.72 | 26.01 | 9.44 | 2.12 | 10.8 | 10 | 30.26 | 28.32 | 19.72 | 24.87 | 27.15 | 26.01 | 27.34 | 30.99
| DOE-2.1E, max | 9.44 | 10.8 | 30.26 | 30.99
| SRES/SUN 5.7, min | 0.71 | 11.51 | 19.71 | 26.8 | 10.53 | 0.71 | 13.76 | 11.51 | 33.55 | 35.29 | 20 | 19.71 | 33.36 | 34.21 | 29.94 | 26.8
| SRES/SUN 5.7, max | 10.53 | 13.76 | 35.29 | 34.21
| Tested Software 1.0 | 9.51 | 11.67 | 31.1733 | 29.0833
Cooling Absolutes |  | L100AL | L110AL | L120AL | L130AL | L140AL | L150AL | L155AL | L160AL | L170AL | L200AL | L202AL
| BLAST 3.0 | 54.66 | 57.71 | 51.36 | 36.96 | 23.52 | 67.73 | 54.09 | 62.62 | 45.83 | 65.71 | 59.61
| DOE-2.1E | 60.8 | 63.82 | 56.14 | 41.25 | 26.54 | 77.35 | 59.06 | 68.69 | 49.08 | 73.1 | 62.24
| SRES/SUN 5.7 | 59.32 | 63.18 | 55.01 | 38.93 | 24.64 | 72.03 | 57.51 | 67.62 | 49.3 | 76.71 | 70.57
| Tested Software 1.0 | 58.26 | 61.57 | 54.17 | 39.0467 | 24.9 | 72.37 | 56.8867 | 66.31 | 48.07 | 71.84 | 64.14
Cooling Deltas |  | L110AL-L100AL | L120AL-L100AL | L130AL-L100AL | L140AL-L100AL | L150AL-L100AL | L155AL-L150AL | L160AL-L100AL | L170AL-L100AL | L200AL-L100AL | L202AL-L200AL
| BLAST 3.0 | 3.05 | -3.3 | -17.7 | -31.14 | 13.07 | -13.64 | 7.96 | -8.83 | 11.05 | -6.1
| DOE-2.1E | 3.02 | -4.66 | -19.55 | -34.26 | 16.55 | -18.29 | 7.89 | -11.72 | 12.3 | -10.86
| SRES/SUN 5.7 | 3.86 | -4.31 | -20.39 | -34.68 | 12.71 | -14.52 | 8.3 | -10.02 | 17.39 | -6.14
| Tested Software 1.0 | 3.31 | -4.09 | -19.2133 | -33.36 | 14.11 | -15.4833 | 8.05 | -10.19 | 13.58 | -7.7
Tier 2 Results
Heating Absolutes |  | L165AC | P100AC | P105AC | P110AC | P140AC | P150AC
| BLAST 3.0 | 66.84 | 12.31 | 14.6 | 22.37 | 29.42 | 25.1
| DOE-2.1E | 64.73 | 10.02 | 12.1 | 20.17 | 25.82 | 22.58
| SRES/SUN 5.7 | 78.05 | 14.4 | 16.96 | 23.78 | 29.42 | 28.01
| Tested Software 1.0 | 69.8733 | 12.2433 | 14.5533 | 22.1067 | 28.22 | 25.23
Heating Deltas |  | L165AC-L160AC | P105AC-P100AC | P110AC-P100AC | P140AC-P100AC | P150AC-P100AC
| BLAST 3.0 | 3.94 | 2.29 | 10.06 | 17.11 | 12.79
| DOE-2.1E | 6.44 | 2.08 | 10.15 | 15.8 | 12.56
| SRES/SUN 5.7 | 4.54 | 2.56 | 9.38 | 15.02 | 13.61
| Tested Software 1.0 | 4.9733 | 2.31 | 9.8633 | 15.9767 | 12.9867
Cooling Absolutes |  | L165AL | P100AC | P105AC | P110AC | P140AC | P150AC
| BLAST 3.0 | 54.77 | 18.11 | 11.94 | 30.19 | 1.68 | 12.43
| DOE-2.1E | 52.87 | 23.01 | 13.61 | 36.48 | 2.84 | 15.03
| SRES/SUN 5.7 | 59.58 | 20.07 | 13.46 | 30.86 | 1.74 | 14.03
| Tested Software 1.0 | 55.74 | 20.3967 | 13.0033 | 32.51 | 2.0867 | 13.83
Cooling Deltas |  | L165AL-L160AL | P105AC-P100AC | P110AC-P100AC | P140AC-P100AC | P150AC-P100AC
| BLAST 3.0 | -7.85 | -6.17 | 12.08 | -16.43 | -5.68
| DOE-2.1E | -15.82 | -9.4 | 13.47 | -20.17 | -7.98
| SRES/SUN 5.7 | -8.04 | -6.61 | 10.79 | -18.33 | -6.04
| Tested Software 1.0 | -10.57 | -7.3933 | 12.1133 | -18.31 | -6.5667

## Season_Coeff
Any day of the year with interpolation
Heating Season Coefficients (based on Julian date) | [8 empty] | not wrapped (+1) |  | wrapped (-1)
First day | Last day | flag = | 1 | DaysInMo | MoEndJD | include | start-D | end-D | start | end | start | end | Heating_coeff
1 | 365 | January | 1 | 31 | 31 | 1 | 31 | -334 | 1 | 0 | 0 | 0 | 1
|  | February | 2 | 28 | 59 | 1 | 59 | -306 | 1 | 0 | 0 | 0 | 1
|  | March | 3 | 31 | 90 | 1 | 90 | -275 | 1 | 0 | 0 | 0 | 1
|  | April | 4 | 30 | 120 | 1 | 120 | -245 | 1 | 0 | 0 | 0 | 1
|  | May | 5 | 31 | 151 | 1 | 151 | -214 | 1 | 0 | 0 | 0 | 1
|  | June | 6 | 30 | 181 | 1 | 181 | -184 | 1 | 0 | 0 | 0 | 1
|  | July | 7 | 31 | 212 | 1 | 212 | -153 | 1 | 0 | 0 | 0 | 1
|  | August | 8 | 31 | 243 | 1 | 243 | -122 | 1 | 0 | 0 | 0 | 1
|  | September | 9 | 30 | 273 | 1 | 273 | -92 | 1 | 0 | 0 | 0 | 1
|  | October | 10 | 31 | 304 | 1 | 304 | -61 | 1 | 0 | 0 | 0 | 1
|  | November | 11 | 30 | 334 | 1 | 334 | -31 | 1 | 0 | 0 | 0 | 1
|  | December | 12 | 31 | 365 | 1 | 365 | 0 | 0 | 1 | 0 | 0 | 1
Cooling Season Coefficients (based on Julian date) | [8 empty] | not wrapped (+1) |  | wrapped (-1)
First day | Last day | flag = | 1 | DaysInMo | MoEndJD | include | start-D | end-D | start | end | start | end | Cooling_coeff
1 | 365 | January | 1 | 31 | 31 | 1 | 31 | -334 | 1 | 0 | 0 | 0 | 1
|  | February | 2 | 28 | 59 | 1 | 59 | -306 | 1 | 0 | 0 | 0 | 1
|  | March | 3 | 31 | 90 | 1 | 90 | -275 | 1 | 0 | 0 | 0 | 1
|  | April | 4 | 30 | 120 | 1 | 120 | -245 | 1 | 0 | 0 | 0 | 1
|  | May | 5 | 31 | 151 | 1 | 151 | -214 | 1 | 0 | 0 | 0 | 1
|  | June | 6 | 30 | 181 | 1 | 181 | -184 | 1 | 0 | 0 | 0 | 1
|  | July | 7 | 31 | 212 | 1 | 212 | -153 | 1 | 0 | 0 | 0 | 1
|  | August | 8 | 31 | 243 | 1 | 243 | -122 | 1 | 0 | 0 | 0 | 1
|  | September | 9 | 30 | 273 | 1 | 273 | -92 | 1 | 0 | 0 | 0 | 1
|  | October | 10 | 31 | 304 | 1 | 304 | -61 | 1 | 0 | 0 | 0 | 1
|  | November | 11 | 30 | 334 | 1 | 334 | -31 | 1 | 0 | 0 | 0 | 1
|  | December | 12 | 31 | 365 | 1 | 365 | 0 | 0 | 1 | 0 | 0 | 1